| H.T NO. |  |  |  |  |  |  |  |  |  |  |  |  |  |  | R25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Course Code: A7EE04

MLR INSTITUTE OF TECHNOLOGY

(An Autonomous Institute)

I B.Tech I Semester Regular Examinations December-2025/January-2026

BASIC ELECTRICAL ENGINEERING

(Common to CSM & CSD)

Time: 3 Hours.								Max. Marks: 60

Note: 1. This question paper contains two parts A and B.

2. Part -A is Compulsory which carries 10 marks. Answer all Questions in part A.

3. Part -B consists 5units.Answer any one question from each unit. Each question 
              carries 10 marks and may have a, b, c as sub questions.

PART- A 			5 x 2M = 10Marks

| 1 |  |  | M | CO | BL |
| --- | --- | --- | --- | --- | --- |
|  | a) | Define linear and non linear elements | 2 | 1 | 1 |
|  | b) | Define RMS value | 2 | 2 | 1 |
|  | c) | Why rating of the transformer is given in KVA? Explain | 2 | 3 | 2 |
|  | d) | What is the working principle of a DC Generator | 2 | 4 | 2 |
|  | e) | What is the need for earthing | 2 | 5 | 1 |

PART- B 			5 x 10M = 50Marks

| 2 |  |  | M | CO | BL |
| --- | --- | --- | --- | --- | --- |
|  | a) | State and explain types of elements. | 5 | 1 | 2 |
|  | b) | Using Kirchhoff's laws, calculate the current in each resistor in the circuit shown in the figure. | 5 | 1 | 3 |
| OR |  |  |  |  |  |
| 3 |  | Determine the current through 1.5 ohm resistor in the following circuit by using thevenis theorem | 10 | 1 | 3 |
| Page 1 of 2 |  |  |  |  |  |
| 4 | a) | Define the following terms i) Amplitude ii)rms value iii) peak factor iv) form factor v) instantaneous value vi) average value of an alternating quantity | 5 | 2 | 1 |
|  | b) | Derive the average value of a sinusoidal wave | 5 | 2 | 3 |
| OR |  |  |  |  |  |
| 5 |  | Explain the phenomena of resonance. Derive the formula for the resonant frequency of the series resonant circuit | 10 | 2 | 2 |
| 6 |  | Develop the equivalent circuit of a single phase transformer | 10 | 3 | 4 |
| OR |  |  |  |  |  |
| 7 | a) | What is transformer? How does it transfer electrical energy from one circuit to another circuit. | 5 | 3 | 2 |
|  | b) | What are the different losses in a transformer | 5 | 3 | 2 |
| 8 | a) | Explain the constructional features of a DC Machine | 5 | 4 | 2 |
|  | b) | Calculate the generated e.m.f. of a 4-pole, wave-wound armature having 38 slots with 18 conductors per slot when driven at 1000 rpm. The flux/pole is 0.018 wb. | 5 | 4 | 3 |
| OR |  |  |  |  |  |
| 9 | a) | Describe constructional features of a three phase induction motor | 5 | 4 | 4 |
|  | b) | The stator of a 3-phase, 4-pole induction motor is connected to a 50 Hz supply. The rotor runs at 1455 rpm at full load. Determine (i) the synchronous speed and (ii) the slip at full load. | 5 | 4 | 4 |
| 10 | a) | Explain about the Miniature circuit braker in detail. | 5 | 5 | 2 |
|  | b) | What is the difference between MCCB and switch fuse unit | 5 | 5 | 4 |
| OR |  |  |  |  |  |
| 11 | a) | Discuss about various types of batteries | 5 | 5 | 2 |
|  | b) | Explain the need of power factor improvement. | 5 | 5 | 2 |

---oo0oo---

Page 2 of 2