| H.T NO. |  |  |  |  |  |  |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Course Code: A6EE60

MLR INSTITUTE OF TECHNOLOGY

(An Autonomous Institute)

I B.Tech I Semester Supplementary Examinations December-2025/January-2026

BASIC ELECTRICAL AND ELECTRONICS ENGINEERING

(CSE)

Time: 3 Hours.								Max. Marks: 60

Note: 1. This question paper contains two parts A and B.

2. Part -A is Compulsory which carries 10 marks. Answer all Questions in part A.

3. Part -B consists 5units.Answer any one question from each unit. Each question 
              carries 10 marks and may have a, b, c as sub questions.

PART- A 			10 x 1M = 10Marks

| 1 |  |  | M | CO | BL |
| --- | --- | --- | --- | --- | --- |
|  | a) | Define KVL? | 1 | 1 | 1 |
|  | b) | Draw the symbol for practical voltage source? | 1 | 1 | 2 |
|  | c) | Write the working principle of DC generator? | 1 | 2 | 2 |
|  | d) | What is the function of commutator in DC motor? | 1 | 2 | 2 |
|  | e) | Define slip? | 1 | 3 | 1 |
|  | f) | Classify the types of core losses? | 1 | 3 | 3 |
|  | g) | What is the meaning of Biasing of p – n junction? | 1 | 4 | 2 |
|  | h) | What is the purpose of using filters with rectifiers? | 1 | 4 | 2 |
|  | i) | What is the need of biasing? | 1 | 5 | 2 |
|  | j) | Why transistor is called as a current controlled device? | 1 | 5 | 2 |

PART- B 			5 x 10M = 50Marks

| 2 |  |  | M | CO | BL |
| --- | --- | --- | --- | --- | --- |
|  | a) | Explain in detail about Kirchhoff’s Current and Voltage Law? | 5 | 1 | 2 |
|  | b) | Discuss independent sources with their V-I characteristics? | 5 | 1 | 2 |
| OR |  |  |  |  |  |
| 3 |  | Using ∆-Y or Y-∆ conversion, find the current I in the circuit shown below. | 10 | 1 | 4 |
| Page 1 of 2 |  |  |  |  |  |
| 4 | a) | Describe different methods of excitations in dc generators with relevant diagrams. | 5 | 2 | 2 |
|  | b) | Derive EMF equation of DC generator? | 5 | 2 | 2 |
| OR |  |  |  |  |  |
| 5 |  | Explain the working operation of DC motor with neat sketch and derive the torque expression | 10 | 2 | 2 |
| 6 | a) | Explain the working principle of transformer. | 5 | 3 | 2 |
|  | b) | A 50Hz single phase transformer has 6600V/400V having e.m.f per turn is 10V and the maximum flux density in the core is 1.6 Tesla. Find the: i) Suitable number of primary and secondary turns ii) Cross sectional area of the core. | 5 | 3 | 4 |
| OR |  |  |  |  |  |
| 7 | a) | Derive the expression for torque developed by an Induction motor? | 5 | 3 | 2 |
|  | b) | A 4-pole, three-phase induction motor runs at 1440 rpm at full load when supplied power from 50 Hz, 3-phase line. Calculate i) slip at full load ii) speed of rotor at a slip of 10%. | 5 | 3 | 4 |
| 8 |  | Explain about the Forward and reverse biased conditions of PN Junction with necessary diagram and Draw V-I characteristics. | 10 | 4 | 2 |
| OR |  |  |  |  |  |
| 9 |  | Explain the working of a full wave bridge rectifier? Draw its relevant wave forms | 10 | 4 | 2 |
| 10 | a) | Discuss the operation of an N – P – N transistor with a neat circuit. | 5 | 5 | 2 |
|  | b) | Explain the input and output characteristics of a transistor in CE configuration. | 5 | 5 | 2 |
| OR |  |  |  |  |  |
| 11 | a) | Discuss various characteristics of CB amplifier | 5 | 5 | 2 |
|  | b) | Compare CB and CC configurations. | 5 | 5 | 2 |

---oo0oo---

Page 2 of  2