| H.T NO. |  |  |  |  |  |  |  |  |  |  |  |  |  |  | R25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Course Code:	A7EE01

MLR INSTITUTE OF TECHNOLOGY

(An Autonomous Institute)

I B.Tech I Semester Regular Examinations December-2025/January-2026

ELECTRICAL CIRCUITS-I

(EEE)

Time: 3 Hours.								Max. Marks: 60

Note: 1. This question paper contains two parts A and B.

2. Part -A is Compulsory which carries 10 marks. Answer all Questions in part A.

3. Part -B consists 5units.Answer any one question from each unit. Each question 
              carries 10 marks and may have a, b, c as sub questions.

PART- A 			5 x 2M = 10Marks

| 1 |  |  | M | CO | BL |
| --- | --- | --- | --- | --- | --- |
|  | a) | Define active and passive elements | 2 | 1 | 1 |
|  | b) | Define form factor | 2 | 2 | 1 |
|  | c) | State the Thevenin’s theorem | 2 | 3 | 1 |
|  | d) | Write the expression for three phase power in star connected system | 2 | 4 | 1 |
|  | e) | What is self-inductance and mutual inductance | 2 | 5 | 1 |

PART- B 			5 x 10M = 50Marks

| 2 |  |  | M | CO | BL |
| --- | --- | --- | --- | --- | --- |
|  | a) | Determine the currents i1 and i2 in the circuit shown in figure using mesh analysis | 5 | 1 | 3 |
|  | b) | Explain Kirchoff’s law with example | 5 | 1 | 2 |
| OR |  |  |  |  |  |
| 3 |  | Use nodal analysis to find the voltage across 6Ω resistor shown in figure | 10 | 1 | 3 |
| Page 1 of 2 |  |  |  |  |  |
| 4 | a) | Show that the form factor of a pure sine wave is 1.1 | 5 | 2 | 4 |
|  | b) | Derive the expression for impedance of a series RL circuit connected to an AC sinusoidal supply. Also draw the phasor diagram of voltage and current | 5 | 2 | 3 |
| OR |  |  |  |  |  |
| 5 | a) | Define real power, reactive power, apparent power, and power factor. | 5 | 2 | 2 |
|  | b) | In a series RL circuit with Vrms = 230 V, R = 50 Ω, inductive reactance XL =100Ω at f = 50Hz. Find the impedance, active power and reactive power. | 5 | 2 | 3 |
| 6 |  | Find the current through 15 Ω resistor in the circuit shown in figure using superposition theorem | 10 | 3 | 3 |
| OR |  |  |  |  |  |
| 7 | a) | Find Vo in the circuit shown in figure using Norton’s theorem | 10 | 3 | 3 |
| 8 |  | Explain the power measurement in a 3-phase balanced system using two wattmeter method with the help of neat circuit and phasor diagram. | 10 | 4 | 3 |
| OR |  |  |  |  |  |
| 9 |  | Derive the relationship between line and phase voltages and currents in a) star connected system and b) delta connected system. Also draw neat phasor diagrams for both. | 10 | 4 | 3 |
| 10 | a) | What is dot convention and explain with example in coupled circuits | 5 | 5 | 3 |
|  | b) | Find the mutual inductance M, series-aiding equivalent inductance, and series-opposing equivalent inductance with L1 = 4mH, L2 = 6mH and k = 0.6 | 5 | 5 | 3 |
| OR |  |  |  |  |  |
| 11 | a) | Find the coefficient of coupling k when L1 = 5mH, L2 = 20mH and M = 6mH | 5 | 5 | 3 |
|  | b) | Derive the expression for equivalent inductance of two coupled coils connected in a) series aiding b) series opposing. | 5 | 5 |  |

---oo0oo--                                                                Page 2 of 2