| H.T NO. |  |  |  |  |  |  |  |  |  |  |  |  |  |  | R25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Course Code:	A7EE09

MLR INSTITUTE OF TECHNOLOGY

(An Autonomous Institute)

I B.Tech I Semester Regular ExaminationsDecember-2025/January-2026

ELEMENTS OF ELECTRICAL AND ELCTRONICS ENGINEERING

(Common to AERO & MECH)

Time: 3 Hours.								Max. Marks: 60

Note: 1. This question paper contains two parts A and B.

2. Part -A is Compulsory which carries 10 marks. Answer all Questions in part A.

3. Part -B consists 5units.Answer any one question from each unit. Each question 
              carries 10 marks and may have a, b, c as sub questions.

PART- A 			5 x 2M = 10Marks

| 1 |  |  | M | CO | BL |
| --- | --- | --- | --- | --- | --- |
|  | a) | Define the Peak and RMS values of sinusoidal waveform? | 2 | 1 | 1 |
|  | b) | List the various constructional parts of DC Generator? | 2 | 2 | 1 |
|  | c) | Differentiate between MCB and MCCB? | 2 | 3 | 2 |
|  | d) | Write about the static and dynamic resistances? | 2 | 4 | 2 |
|  | e) | What the different types of transistor configuration? | 2 | 5 | 1 |

PART- B 			5 x 10M = 50Marks

| 2 |  |  | M | CO | BL |
| --- | --- | --- | --- | --- | --- |
|  | a) | Derive the relation between line and phase currents in delta connection? | 5 | 1 | 2 |
|  | b) | Define the RMS value and derive an expression for RMS value of sine wave form? | 5 | 1 | 3 |
| OR |  |  |  |  |  |
| 3 | a) | Describe in brief the voltage and current sources? | 5 | 1 | 2 |
|  | b) | State and explain Kirchhoff’s laws? | 5 | 1 | 2 |
| 4 | a) | Explain the construction and working of a synchronous generator (Alternator)? | 5 | 2 | 2 |
|  | b) | Explain the working principle of DC Generator and DC Motor? | 5 | 2 | 2 |
| OR |  |  |  |  |  |
| 5 | a) | Derive the EMF Equation of Transformer? | 5 | 2 | 3 |
|  | b) | Define the efficiency and describe in brief the losses in transformers? | 5 | 2 | 2 |
| Page 1 of 2 |  |  |  |  |  |
| 6 |  | Explain in detail the different types of wires and cables? | 10 | 3 | 2 |
| OR |  |  |  |  |  |
| 7 | a) | Define and explain in brief about earthing? | 5 | 3 | 2 |
|  | b) | Explain the working of ELCB with neat sketch? | 5 | 3 | 2 |
| 8 |  | Explain the working of a PN junction diode when it is connected in forward bias and reverse bias. Draw VI Characteristics of PN Junction Diode. | 10 | 4 | 4 |
| OR |  |  |  |  |  |
| 9 | a) | With neat diagram, explain the working principle of Half Wave Rectifier? | 5 | 4 | 2 |
|  | b) | With neat diagram, explain the working principle of Full Wave Rectifier (Centre tapped)? | 5 | 4 | 2 |
| 10 |  | With a neat sketch Explain the input and output and current gain characteristics of a transistor in common base (CB) configuration? | 5 | 10 | 4 |
| OR |  |  |  |  |  |
| 11 | a) | Explain in detail the transistor working as a amplifier? | 5 | 5 | 2 |
|  | b) | Compare the characteristics of BJT CE and CC transistor configurations? | 5 | 5 | 2 |

---oo0oo---

Page 2 of 2