| H.T NO. |  |  |  |  |  |  |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Course Code: A6EE41

MLR INSTITUTE OF TECHNOLOGY

(An Autonomous Institute)

IV B.Tech I Semester Regular Examinations Novemeber-2025

ELECTRICAL DISTRIBUTION SYSTEM

(EEE)

Time: 3 Hours.								Max. Marks: 60

Note: 1. This question paper contains two parts A and B.

2. Part -A is Compulsory which carries 10 marks. Answer all Questions in part A.

3. Part -B consists 5units.Answer any one question from each unit. Each question 
              carries 10 marks and may have a, b, c as sub questions.

PART- A 			10 x 1M = 10Marks

| 1 |  |  | M | CO | BL |
| --- | --- | --- | --- | --- | --- |
|  | a) | Describe loss factor? | 1 | 1 | 2 |
|  | b) | Explain demand factor. | 1 | 1 | 2 |
|  | c) | Illustrate the benefits that are derived through optimal location of substations. | 1 | 2 | 3 |
|  | d) | Explain the design considerations that are taken for distribution feeders. | 1 | 2 | 2 |
|  | e) | Explain in brief the type of common faults that occur in Distribution System. | 1 | 2 | 2 |
|  | f) | Explain the need for coordination of protective devices. | 1 | 3 | 2 |
|  | g) | Explain the need of Switched capacitor in Distribution system. | 1 | 3 | 2 |
|  | h) | Illustrate the differences between fixed and switched capacitors? | 1 | 3 | 3 |
|  | i) | Demonstrate the effects of AVR on voltage control? | 1 | 4 | 3 |
|  | j) | Explain shunt capacitor. | 1 | 4 | 2 |

PART- B 			5 x 10M = 50Marks

| 2 |  |  | M | CO | BL |
| --- | --- | --- | --- | --- | --- |
|  | a) | Explain the classification of the loads and give its characteristics? | 5 | 1 | 2 |
|  | b) | What is loss factor? How is it related to load factor. Discuss its significance? | 5 | 1 | 2 |
| OR |  |  |  |  |  |
| 3 | a) | Assume that a load of 100 kW is connected at the Riverside substation. The 15 min weekly maximum demand is given by 75 kW, and the weekly energy consumption is 4200 kWh. Assuming a week is 7 days; Calculate the demand factor and the 15-min weekly load factor of the substation. | 5 | 1 | 3 |
|  | b) | Explain the different methods for reduction of Distribution system losses. | 5 | 1 | 2 |
| Page 1 of 2 |  |  |  |  |  |
| 4 | a) | Illustrate the factors that need to be considered for selecting an ideal location of Substation. | 5 | 1 | 3 |
|  | b) | Discuss how an ideal substation with feeders can be arranged? How is it analyzed for % voltage drop? | 5 | 1 | 2 |
| OR |  |  |  |  |  |
| 5 | a) | Analyze the various factors that influence the voltage levels in the design and operation of the distribution system? | 5 | 1 | 4 |
|  | b) | Illustrate the distribution system? How is it subdivided to cater the needs of the customers? | 5 | 1 | 3 |
| 6 |  | Illustrate in detail about the coordination among the Protective devices used in Distribution system. | 10 | 2 | 3 |
| OR |  |  |  |  |  |
| 7 | a) | Describe the residual current circuit breaker to fuse with diagram. | 5 | 2 | 2 |
|  | b) | Describe the auto-recloser to circuit breaker coordination with current time characteristics. | 5 | 2 | 2 |
| 8 |  | Outline in detail the procedure for best location of capacitor placement in a Distribution system. | 10 | 3 | 4 |
| OR |  |  |  |  |  |
| 9 | a) | A 3-phase, 50 Hz, 20 km transmission line supplies a load of 10MW at power factor 0.8 lagging to the receiving end where the voltage is maintained constant at 33 kV. The line resistance and inductance are 0.03 ohm and 0.9 mH per phase per km respectively. A capacitor is connected across the load to raise the power factor to 0.95 lagging. Calculate (i) the value of the capacitance per phase and (ii) voltage regulation. | 5 | 3 | 3 |
|  | b) | Illustrate the p.f improvement help in reduction in % voltage drop and hence voltage regulation of distribution transformer. | 5 | 3 | 3 |
| 10 | a) | Explain the effect of Series capacitors on voltage control. | 5 | 4 | 2 |
|  | b) | Illustrate the line drop compensation with neat diagram. | 5 | 4 | 3 |
| OR |  |  |  |  |  |
| 11 | a) | Demonstrate the necessity of voltage control required in a distribution system. | 5 | 4 | 3 |
|  | b) | Illustrate the need to control the voltage of power system. Explain the methods in detail. | 5 | 4 | 3 |

---oo0oo---

Page 2 of 2