| H.T NO. |  |  |  |  |  |  |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Course Code: A6ME68

MLR INSTITUTE OF TECHNOLOGY

(An Autonomous Institute)

IV B.Tech I Semester Regular Examinations Novemeber-2025

REFRIGERATION AND AIR CONDITIONING

(MECH)

Time: 3 Hours.								Max. Marks: 60

Note: 1. This question paper contains two parts A and B.

2. Part -A is Compulsory which carries 10 marks. Answer all Questions in part A.

3. Part -B consists 5units.Answer any one question from each unit. Each question 
              carries 10 marks and may have a, b, c as sub questions.

PART- A 			10 x 1M = 10Marks

| 1 |  |  | M | CO | BL |
| --- | --- | --- | --- | --- | --- |
|  | a) | State the various applications of refrigeration? | 1 | 1 | 1 |
|  | b) | What are the units used to measure refrigeration? | 1 | 1 | 1 |
|  | c) | List the advantages of vapour compression refrigeration system? | 1 | 2 | 1 |
|  | d) | List the common refrigerants used in vapour compression refrigeration system? | 1 | 2 | 1 |
|  | e) | List the merits of vapour absorption refrigeration system? | 1 | 3 | 1 |
|  | f) | Provide a precise definition of the term “refrigerant.” | 1 | 3 | 1 |
|  | g) | What is air conditioning? | 1 | 4 | 1 |
|  | h) | List the advantages of air conditioning? | 1 | 4 | 1 |
|  | i) | List out the components in summer air conditioning? | 1 | 5 | 1 |
|  | j) | Write the merits of year round air conditioning? | 1 | 5 | 1 |

PART- B 			5 x 10M = 50Marks

| 2 |  |  | M | CO | BL |
| --- | --- | --- | --- | --- | --- |
|  | a) | Explain the merits of Air refrigeration system? | 5 | 1 | 2 |
|  | b) | Explain about open air refrigeration cycle? | 5 | 1 | 2 |
| OR |  |  |  |  |  |
| 3 | a) | Derive the efficiency of bell-Coleman cycle? | 5 | 1 | 6 |
|  | b) | Define following : - C.O.P - Tonne of refrigeration | 5 | 1 | 1 |
| Page 1 of 2 |  |  |  |  |  |
| 4 | a) | In a 15 TR ammonia refrigeration plant, the condensing temperature is 25°C and evaporating temperature -10°C. The refrigerant ammonia is sub-cooled by 5°C before passing through the throttle valve. The vapour leaving the evaporator is 0.97 dry. Find: coefficient of performance Use the following properties of ammonia: Saturation Temp (ºC); Enthalpy of Liquid (kJ/kg); Enthalpy of vapour (kJ/kg); Entropy of liquid (kJ/kg K); Entropy of vapour (kJ/kg K); Specific heat of liquid (KJ/Kg k); Specific heat of liquid KJ/Kg k). 25; 298.9; 1465.84; 1.1242; 5.0391; 4.6; 2.8. -10; 135.37; 1433.05; 0.5443; 5.4770; ------; ------. | 5 | 2 | 3 |
|  | b) | Draw the T-s and p-h diagrams of theoretical vapour compression refrigeration cycles with under cooling or sub-cooling of refrigerant? | 5 | 2 | 3 |
| OR |  |  |  |  |  |
| 5 |  | Explain the working principle of simple vapour compression refrigeration system with neat sketch? | 10 | 2 | 2 |
| 6 |  | Describe the working principle of a water ammonia refrigeration absorption system? | 10 | 3 | 2 |
| OR |  |  |  |  |  |
| 7 | a) | List the chemical and physical properties of refrigerants? | 5 | 3 | 1 |
|  | b) | Explain how refrigerants impacts on ozone depletion and global warming? | 5 | 3 | 2 |
| 8 |  | Explain the following psychometric process? i) Sensible cooling process ii) Sensible heating process iii) Humidification process iv) De-humidification process | 10 | 4 | 2 |
| OR |  |  |  |  |  |
| 9 | a) | List out the Factors Affecting Human Comfort? | 5 | 4 | 1 |
|  | b) | Define the term “Effective temperature” and explain its importance in air Conditioning system? | 5 | 4 | 2 |
| 10 | a) | Explain the summer air condition system with neat diagram. | 5 | 5 | 3 |
|  | b) | List the applications of central air conditioning system? | 5 | 5 | 1 |
| OR |  |  |  |  |  |
| 11 | a) | Define RSHF and GSHF in air conditioning? | 5 | 5 | 1 |
|  | b) | Compare the differences between summer and winter air conditioning systems? | 5 | 5 | 2 |

---oo0oo---

Page 2 of 2