| H.T NO. |  |  |  |  |  |  |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Course Code:	A6EE27

MLR INSTITUTE OF TECHNOLOGY

(An Autonomous Institute)

IV B.Tech I Semester Regular Examinations Novemeber-2025

UTILIZATION OF ELECTRICAL ENERGY

(EEE)

Time: 3 Hours.								Max. Marks: 60

Note: 1. This question paper contains two parts A and B.

2. Part -A is Compulsory which carries 10 marks. Answer all Questions in part A.

3. Part -B consists 5units.Answer any one question from each unit. Each question 
              carries 10 marks and may have a, b, c as sub questions.

PART- A 			10 x 1M = 10Marks

| 1 |  |  | M | CO | BL |
| --- | --- | --- | --- | --- | --- |
|  | a) | State the properties of a good heating element. | 1 | 1 | 1 |
|  | b) | Define resistance heating and give an example. | 1 | 1 | 2 |
|  | c) | Differentiate between electron beam and laser welding. | 1 | 2 | 3 |
|  | d) | Mention two advantages of atomic hydrogen welding. | 1 | 2 | 2 |
|  | e) | State the inverse square law of illumination. | 1 | 3 | 3 |
|  | f) | What is photometry, and why is it important? | 1 | 3 | 2 |
|  | g) | List the various systems of track electrification. | 1 | 4 | 1 |
|  | h) | Name the main types of electric traction systems used in India. | 1 | 4 | 2 |
|  | i) | What are the primary forces that oppose train motion? | 1 | 5 | 2 |
|  | j) | Write the formula for calculating the tractive effort required for train movement. | 1 | 5 | 3 |

PART- B 			5 x 10M = 50Marks

| 2 |  |  | M | CO | BL |
| --- | --- | --- | --- | --- | --- |
|  | a) | Explain the classification of electric heating methods with neat diagram. | 5 | 1 | 2 |
|  | b) | Discuss the advantages and disadvantages of electric heating over conventional methods. | 5 | 1 | 3 |
| OR |  |  |  |  |  |
| 3 | a) | Describe the construction and working principle of vertical core type induction furnace. | 5 | 1 | 3 |
|  | b) | Compare the direct arc furnace and the indirect arc furnace. | 5 | 1 | 4 |
| Page 1 of 2 |  |  |  |  |  |
| 4 | a) | Explain the working principle and process of electron beam welding with a neat diagram. | 5 | 2 | 4 |
|  | b) | Explain the construction and operation of laser beam welding and its applications in precision industries. | 5 | 2 | 3 |
| OR |  |  |  |  |  |
| 5 | a) | Explain the construction and operation of a welding transformer with neat diagram. | 5 | 2 | 2 |
|  | b) | Discuss the advantages and disadvantages of AC and DC supply in electric arc welding. | 5 | 2 | 2 |
| 6 | a) | Explain the construction and working of an integrating sphere used in photometry. | 5 | 3 | 3 |
|  | b) | Define and explain the following terms: Luminous flux, Luminous intensity, Illumination, Luminance, and Candle power. | 5 | 3 | 4 |
| OR |  |  |  |  |  |
| 7 |  | Explain the working principle of a fluorescent tube and tungsten filament lamp with a circuit diagram. | 10 | 3 | 3 |
| 8 | a) | Explain the speed–torque characteristics of DC series and DC shunt motors and state why DC series motor is preferred for traction. | 5 | 4 | 3 |
|  | b) | A 600 V DC series motor runs at 1000 rpm taking 150 A. Calculate the speed at 100 A assuming flux ∝ current and armature resistance = 0.25 Ω. | 5 | 4 | 4 |
| OR |  |  |  |  |  |
| 9 |  | Discuss the advantages, disadvantages, and limitations of various electric braking methods. | 10 | 4 | 3 |
| 10 | a) | Compare the trapezoidal and quadrilateral speed–time curves in terms of acceleration, coasting, and braking. | 5 | 5 | 3 |
|  | b) | For a run between two stations 1 km apart, draw the trapezoidal speed–time curve if acceleration = 2 km/h/s, retardation = 3 km/h/s, and maximum speed = 60 km/h. Calculate the time of run. | 5 | 5 | 4 |
| OR |  |  |  |  |  |
| 11 | a) | Define adhesive weight and coefficient of adhesion, and explain their importance in traction. | 5 | 5 | 3 |
|  | b) | Derive the expression for specific energy consumption in terms of tractive effort, distance, and efficiency. | 5 | 5 | 4 |

---oo0oo---

Page 2 of 2