| H.T NO. |  |  |  |  |  |  |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Course Code: B52128

MLR INSTITUTE OF TECHNOLOGY

(An Autonomous Institute)

II M.TECH I Semester Regular Examinations January/February-2024

REFRIGERATION AND HVAC

(TE)

Time: 3 Hours.								Max. Marks: 60

Note: 1. This question paper contains two parts A and B.

2. Part- A is Compulsory which carries 10 marks. Answer all Questions in part A.

3. Part – B consists 5 units. Answer any one question from each unit. Each question 
              carries 10 marks and may have a, b, c as sub questions.

PART- A 				10 x 1 = 10Marks

| 1 | a) | Write about the term ``Ton of refrigeration” | 1M | CO1 | BL1 |
| --- | --- | --- | --- | --- | --- |
|  | b) | In refrigeration system why heat rejected is more than heat absorbed? | 1M | CO1 | BL1 |
|  | c) | Write about the effects of super heating on COP of vapor compressor refrigeration system. | 1M | CO1 | BL1 |
|  | d) | Represent ideal vapor compression refrigeration system on T-S and P-h diagrams. | 1M | CO1 | BL1 |
|  | e) | What are the advantages of vapor absorption refrigeration system over vapor compression refrigeration system | 1M | CO2 | BL1 |
|  | f) | State the function of absorber and rectifier in vapor absorption system. | 1M | CO2 | BL1 |
|  | g) | Define adiabatic saturation process. Represent the same on a psychometricchart. | 1M | CO2 | BL1 |
|  | h) | Define ASHRAE comfort chart. | 1M | CO3 | BL1 |
|  | i) | Classify Air conditioning systems. | 1M | CO3 | BL1 |
|  | j) | What is the function of a fan in an air conditioning system? | 1M | CO3 | BL2 |

PART- B				5 x 10 = 50Marks

| 2 |  | Explain Aqa-ammonia air refrigeration system with neat diagram | 10M | CO1 | BL4 |
| --- | --- | --- | --- | --- | --- |
| OR |  |  |  |  |  |
| 3 | a) | What are the factors to be considered while the refrigeration system for an aeroplane? Explain briefly | 5M | CO1 | BL2 |
|  | b) | Explain boot strap air refrigeration system with neat diagram. | 5M | CO1 | BL2 |
| Page 1 of 2 |  |  |  |  |  |
| 4 |  | A vapour compression refrigerator uses R-12 as refrigerant and the liquid evaporates inthe evaporator at -150C. The temperature of this refrigerant at the delivery from thecompressor is 150C when the vapour is condensed at 100C. Find the coefficient ofperformance if the liquid is cooled by 50C before expansion by throttling. Take specificheat at constant pressure for the superheated vapour as 0.64kJ/kg K and that for liquidas 0.94 kJ/kg K. the other properties of refrigerant are as follows | 10M | CO2 | BL2 |
| OR |  |  |  |  |  |
| 5 |  | 100 cu m of air per minute at 150C DBT and 80% RH is heated until its temperature become 220C. Find the following 1. Heat added to the air per min 2. R.H of the heated air 3. Wet-bulb temperature of the heated air Assume air pressure is 1.033 bar. | 10M | CO2 | BL4 |
| 6 |  | Draw a neat diagram of lithium bromide water absorption system and explain itsworking in major field of applications of this system. | 10M | CO1 | BL2 |
| OR |  |  |  |  |  |
| 7 | a) | Write short notes on (i) Ozone layer depletion; (ii) Global warming | 5M | CO2 | BL2 |
|  | b) | Explain the working principle of thermostatic expansion valve with the help of a neat diagram. | 5M | CO2 | BL2 |
| 8 |  | Explain standard vapour compression refrigeration cycle with T-S and P-H diagram. | 10M | CO3 | BL3 |
| OR |  |  |  |  |  |
| 9 |  | Classify fans and blowers and explain its types with neat sketches. | 10M | CO3 | B4 |
| 10 | a) | Explain the difference between comfort air-conditioning and industrial air-conditioning | 5M | CO4 | BL2 |
|  | b) | Explain psychometric properties and process. | 5M | CO4 | BL2 |
| OR |  |  |  |  |  |
| 11 |  | Explain in brief as to how the human body reacts to changes in temperature of environment. Also explain the effect of activities on the heat load calculation for comfort application. | 10M | CO4 | BL2 |

---oo0oo---					Page 2 of 2