| H.T NO. |  |  | R | 2 |  |  |  |  |  |  |  |  |  |  | R22 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Course Code: B52126

MLR INSTITUTE OF TECHNOLOGY

(An Autonomous Institute)

I M.Tech II Semester Regular/Supplementary Examinations August/September-2025

RENEWABLE ENERGY SOURCES

(TE)

Time: 3 Hours.								Max. Marks: 60

Note: 1. This question paper contains two parts A and B.

2. Part -A is Compulsory which carries 10 marks. Answer all Questions in part A.

3. Part -B consists 5units.Answer any one question from each unit. Each question 
              carries 10 marks and may have a, b, c as sub questions.

PART- A 			10 x 1M = 10Marks

|  |  |  | M | CO | BL |
| --- | --- | --- | --- | --- | --- |
| 1 | a) | What is local solar time? | 1 | 1 | 2 |
|  | b) | What is angle of incidence? | 1 | 1 | 2 |
|  | c) | Define Angle of acceptance. | 1 | 2 | 1 |
|  | d) | Write the Parts of solar chimney power plant? | 1 | 2 | 1 |
|  | e) | Mention the Types of wind turbines. | 1 | 3 | 2 |
|  | f) | What is the Origin of wind? | 1 | 3 | 2 |
|  | g) | What are the merits of Ocean Energy? | 1 | 4 | 2 |
|  | h) | Write the types of fuel cell? | 1 | 4 | 2 |
|  | i) | What is Biomass? | 1 | 5 | 2 |
|  | j) | Define photosynthesis. | 1 | 5 | 2 |

PART- B 				5 x 10M = 50Marks

|  |  |  | M | CO | BL |
| --- | --- | --- | --- | --- | --- |
| 2 |  | Explain solar radiation spectrum with neat sketch | 10 | 1 | 2 |
| OR |  |  |  |  |  |
| 3 | a) | Classification of Energy resources. | 5 | 1 | 2 |
|  | b) | Explain with neat sketch Flate plate solar collector. | 5 | 1 | 2 |
| 4 | a) | How do solar thermal functions and mention applications. | 5 | 2 | 2 |
|  | b) | Classify the various types of solar concentrators. | 5 | 2 | 2 |
| OR |  |  |  |  |  |
| 5 |  | Explain the working of single crystal solar cell with its VI characteristics. | 10 | 2 | 2 |
| Page 1 of 2 |  |  |  |  |  |
| 6 |  | Explain the wind-diesel hybrid system. | 10 | 3 | 2 |
| OR |  |  |  |  |  |
| 7 | a) | What is the necessity for energy storage? | 5 | 3 | 2 |
|  | b) | Explain about pumped hydel energy storage. | 5 | 3 | 2 |
| 8 |  | Explain about the open and closed cycle OTEC plant with neat sketch. | 10 | 4 | 2 |
| OR |  |  |  |  |  |
| 9 | a) | Explain the single basin plants of Ocean Energy | 5 | 4 | 2 |
|  | b) | Explain about different wave energy conversion devices | 5 | 4 | 2 |
| 10 |  | What are the operational parameters of biogas plants | 10 | 5 | 2 |
| OR |  |  |  |  |  |
| 11 |  | Explain the construction & working of Geothermal energy | 10 | 5 | 2 |

---oo0oo---

Page 2 of 2